## ActiveLoad
Node | t=0 (MW) | t=1 (MW) | t=2 (MW) | t=3 (MW) | t=4 (MW) | t=5 (MW) | t=6 (MW) | t=7 (MW) | t=8 (MW) | t=9 (MW) | t=10 (MW) | t=11 (MW) | t=12 (MW) | t=13 (MW) | t=14 (MW) | t=15 (MW) | t=16 (MW) | t=17 (MW) | t=18 (MW) | t=19 (MW) | t=20 (MW) | t=21 (MW) | t=22 (MW) | t=23 (MW)
0 | 0.59997 | 0.54844 | 1.0112 | 0.97235 | 1.5482 | 0.050912 | 0.16291 | 1.7254 | 1.5703 | 1.8684 | 3.0616 | 3.7225 | 0.84477 | 4.6795 | 4.7174 | 5.5718 | 4.5064 | 0.99839 | 0.31895 | 0.9158 | 0.071791 | 1.7274 | 1.7254 | 0.59997
1 | 2.268 | 1.3177 | 0.96664 | 0.32131 | 0.95409 | 0.066943 | 0.66924 | 1.9235 | 0.6021 | 0.25497 | 3.1474 | 2.1701 | 4.1054 | 3.3013 | 2.052 | 1.6254 | 2.6271 | 4.8519 | 1.3102 | 3.462 | 0.094396 | 0.66231 | 1.9235 | 2.268
2 | 1.5296 | 0.18416 | 1.0148 | 1.1098 | 0.88055 | 1.185 | 0.42296 | 1.8503 | 2.0359 | 1.2496 | 0.70618 | 3.2735 | 0.71429 | 3.9894 | 0.46219 | 0.1097 | 3.9628 | 0.84417 | 0.82808 | 2.3348 | 1.671 | 2.2395 | 1.8503 | 1.5296
3 | 1.0082 | 0.17023 | 1.1071 | 1.1178 | 1.0113 | 1.0983 | 1.1171 | 1.7189 | 1.6235 | 0.57015 | 2.2325 | 2.9337 | 0.64221 | 5.0556 | 0.11107 | 2.3985 | 3.5514 | 0.75899 | 2.1871 | 1.5389 | 1.5487 | 1.7859 | 1.7189 | 1.0082
4 | 1.5153 | 1.5153 | 1.5153 | 1.5153 | 1.5153 | 1.5153 | 1.595 | 1.595 | 1.595 | 1.595 | 1.1165 | 1.1165 | 1.1165 | 1.1165 | 1.1165 | 1.595 | 1.595 | 2.1533 | 2.409 | 2.2668 | 2.2491 | 2.1533 | 1.595 | 1.595
5 | 1.1377 | 0.77939 | 1.3532 | 1.4412 | 1.4137 | 0.82868 | 1.0989 | 0.35498 | 0.0053212 | 1.8256 | 2.8253 | 1.9471 | 0.71149 | 0.8884 | 1.7707 | 5.1466 | 2.3571 | 0.84086 | 2.1514 | 1.7367 | 1.1685 | 0.0058533 | 0.35498 | 1.1377
6 | 0.14024 | 0.094805 | 1.0271 | 0.79243 | 1.5979 | 1.2168 | 1.4116 | 0.73817 | 1.1028 | 3.0778 | 2.7851 | 1.8785 | 0.63276 | 4.1306 | 1.6151 | 2.4531 | 2.274 | 0.74782 | 2.7637 | 0.21407 | 1.7158 | 1.213 | 0.73817 | 0.14024
7 | 1.6958 | 1.6946 | 0.76599 | 0.81673 | 1.2628 | 0.22657 | 0.81908 | 1.4384 | 2.236 | 0.48974 | 3.5175 | 4.1442 | 1.7133 | 0.79876 | 0.12939 | 5.6865 | 5.0169 | 2.0249 | 1.6036 | 2.5885 | 0.31949 | 2.4596 | 1.4384 | 1.6958
8 | 0.3161 | 1.7867 | 1.137 | 1.0985 | 0.06297 | 1.4957 | 1.3845 | 1.2616 | 1.3548 | 2.3895 | 3.1611 | 0.55075 | 3.0795 | 0.79572 | 4.8599 | 5.3647 | 0.66672 | 3.6395 | 2.7106 | 0.48249 | 2.109 | 1.4903 | 1.2616 | 0.3161
9 | 1.2248 | 0.52951 | 0.30167 | 0.057806 | 0.338 | 0.89899 | 1.0232 | 1.9486 | 2.2307 | 0.58534 | 3.6473 | 3.933 | 5.0609 | 5.0867 | 5.3767 | 5.2257 | 4.7612 | 5.9812 | 2.0033 | 1.8695 | 1.2677 | 2.4538 | 1.9486 | 1.2248
10 | 0.53417 | 0.77693 | 0.12949 | 0.19332 | 1.258 | 0.11382 | 0.087816 | 0.56355 | 2.641 | 1.2346 | 2.2601 | 0.50927 | 2.0359 | 4.0913 | 4.9927 | 0.62398 | 0.61652 | 2.4061 | 0.17193 | 0.81537 | 0.1605 | 2.9051 | 0.56355 | 0.53417
11 | 0.10511 | 1.6295 | 1.3762 | 0.53124 | 0.43774 | 1.3758 | 0.18044 | 0.83506 | 0.13934 | 0.34322 | 1.3953 | 0.31417 | 4.9821 | 0.57588 | 3.1469 | 1.5358 | 0.38033 | 5.8881 | 0.35327 | 0.16044 | 1.9401 | 0.15328 | 0.83506 | 0.10511
12 | 1.399 | 0.46202 | 0.49513 | 0.91621 | 1.447 | 0.26117 | 0.91413 | 0.070584 | 1.0145 | 2.4271 | 1.3752 | 3.5427 | 0.95833 | 2.846 | 2.6356 | 5.09 | 4.2887 | 1.1326 | 1.7897 | 2.1355 | 0.36827 | 1.1159 | 0.070584 | 1.399
13 | 1.9778 | 1.9778 | 1.9778 | 1.9778 | 1.9778 | 1.9778 | 2.0819 | 2.0819 | 2.0819 | 2.0819 | 1.4573 | 1.4573 | 1.4573 | 1.4573 | 1.4573 | 2.0819 | 2.0819 | 2.8106 | 3.1443 | 2.9587 | 2.9357 | 2.8106 | 2.0819 | 2.0819
14 | 1.8516 | 0.42874 | 1.4369 | 1.3262 | 0.026767 | 1.1818 | 0.47968 | 0.3219 | 0.85803 | 1.9201 | 0.16674 | 3.3265 | 3.756 | 3.8996 | 1.9617 | 4.1341 | 4.027 | 4.439 | 0.93911 | 2.8263 | 1.6664 | 0.94383 | 0.3219 | 1.8516
15 | 1.0722 | 1.6569 | 0.94832 | 0.78136 | 0.89632 | 0.57633 | 1.0556 | 1.0041 | 0.56107 | 2.3074 | 2.109 | 0.20628 | 0.038071 | 0.348 | 3.8106 | 0.8221 | 0.24972 | 0.044994 | 2.0666 | 1.6367 | 0.81269 | 0.61718 | 1.0041 | 1.0722
16 | 1.8646 | 0.93102 | 0.34403 | 1.4592 | 1.3676 | 1.5753 | 0.2439 | 1.3367 | 0.25896 | 0.96269 | 1.0806 | 3.1787 | 0.050892 | 3.5778 | 3.5833 | 0.92473 | 3.8481 | 0.060146 | 0.47751 | 2.8462 | 2.2214 | 0.28485 | 1.3367 | 1.8646
17 | 1.5972 | 0.84563 | 0.68461 | 0.38553 | 1.008 | 0.57032 | 1.334 | 0.72384 | 0.59369 | 1.138 | 4.1204 | 3.551 | 0.096185 | 2.0377 | 5.1172 | 3.299 | 4.2987 | 0.11368 | 2.6118 | 2.438 | 0.80421 | 0.65306 | 0.72384 | 1.5972
18 | 2.2508 | 0.54423 | 0.64705 | 0.45124 | 0.12151 | 0.071537 | 0.20257 | 0.70654 | 0.21811 | 2.6276 | 0.060272 | 3.9576 | 5.2863 | 3.9377 | 1.8147 | 3.1817 | 4.791 | 6.2475 | 0.3966 | 3.4357 | 0.10087 | 0.23993 | 0.70654 | 2.2508
19 | 1.478 | 1.478 | 1.478 | 1.478 | 1.478 | 1.478 | 1.5557 | 1.5557 | 1.5557 | 1.5557 | 1.089 | 1.089 | 1.089 | 1.089 | 1.089 | 1.5557 | 1.5557 | 2.1003 | 2.3496 | 2.211 | 2.1938 | 2.1003 | 1.5557 | 1.5557
20 | 1.28 | 0.16375 | 0.37252 | 0.17024 | 1.1744 | 0.40891 | 0.70481 | 1.1301 | 0.43909 | 2.5914 | 2.2367 | 1.0604 | 3.6759 | 1.3646 | 3.73 | 2.9906 | 1.2837 | 4.3443 | 1.3799 | 1.9539 | 0.5766 | 0.483 | 1.1301 | 1.28
21 | 0.13675 | 1.3653 | 0.29364 | 0.52158 | 0.29801 | 0.85533 | 0.88137 | 0.13874 | 2.4597 | 1.0994 | 1.0448 | 2.9167 | 4.9918 | 4.9482 | 2.6799 | 2.1648 | 3.5309 | 5.8995 | 1.7255 | 0.20873 | 1.2061 | 2.7057 | 0.13874 | 0.13675
22 | 1.7724 | 1.7724 | 1.7724 | 1.7724 | 1.7724 | 1.7724 | 1.8657 | 1.8657 | 1.8657 | 1.8657 | 1.306 | 1.306 | 1.306 | 1.306 | 1.306 | 1.8657 | 1.8657 | 2.5187 | 2.8177 | 2.6514 | 2.6308 | 2.5187 | 1.8657 | 1.8657
23 | 0.47494 | 1.7333 | 0.57952 | 0.9663 | 0.66791 | 0.71084 | 1.2497 | 1.3108 | 1.1039 | 1.081 | 4.035 | 4.0701 | 4.4991 | 0.97655 | 3.7277 | 1.2543 | 4.9272 | 5.3173 | 2.4467 | 0.72496 | 1.0024 | 1.2143 | 1.3108 | 0.47494
24 | 0.53032 | 0.42912 | 1.2226 | 1.0258 | 1.4254 | 2.0249 | 0.85949 | 0.82604 | 1.366 | 1.0252 | 1.1541 | 2.116 | 2.2768 | 2.0748 | 2.5788 | 3.2968 | 2.5616 | 2.6908 | 1.6827 | 0.80949 | 2.8553 | 1.5026 | 0.82604 | 0.53032
25 | 1.6882 | 1.4923 | 0.7172 | 0.3687 | 1.0858 | 0.35727 | 1.0716 | 1.6029 | 2.3029 | 2.604 | 1.4146 | 1.8388 | 4.7691 | 2.2901 | 3.3345 | 0.72067 | 2.2261 | 5.6363 | 2.098 | 2.5768 | 0.50379 | 2.5332 | 1.6029 | 1.6882
26 | 1.094 | 0.8172 | 0.98785 | 0.20695 | 0.7716 | 0.55862 | 0.43356 | 0.21974 | 1.7169 | 2.2245 | 1.3018 | 4.214 | 3.3472 | 1.9571 | 4.426 | 3.6445 | 5.1013 | 3.9559 | 0.84881 | 1.6698 | 0.78772 | 1.8886 | 0.21974 | 1.094
27 | 2.2193 | 0.14112 | 1.2 | 0.91612 | 0.81262 | 0.55087 | 0.7271 | 1.5439 | 1.4183 | 2.2776 | 3.6722 | 1.4941 | 5.067 | 5.253 | 3.0964 | 2.8283 | 1.8087 | 5.9884 | 1.4235 | 3.3876 | 0.77679 | 1.5602 | 1.5439 | 2.2193
28 | 0.93043 | 1.7924 | 0.27334 | 1.2577 | 1.4513 | 1.8101 | 0.54158 | 0.54733 | 2.561 | 2.1733 | 0.73659 | 2.4375 | 2.8682 | 0.037049 | 4.4694 | 4.1372 | 2.9507 | 3.3898 | 1.0603 | 1.4202 | 2.5525 | 2.8171 | 0.54733 | 0.93043
29 | 0.44064 | 0.494 | 1.1537 | 0.8999 | 1.3074 | 1.5568 | 0.20348 | 2.2368 | 2.2934 | 1.7689 | 4.1375 | 3.6884 | 2.6415 | 3.2386 | 5.2967 | 3.7081 | 4.4651 | 3.1218 | 0.39838 | 0.6726 | 2.1953 | 2.5227 | 2.2368 | 0.44064
30 | 1.2655 | 1.2655 | 1.2655 | 1.2655 | 1.2655 | 1.2655 | 1.3321 | 1.3321 | 1.3321 | 1.3321 | 0.93249 | 0.93249 | 0.93249 | 0.93249 | 0.93249 | 1.3321 | 1.3321 | 1.7984 | 2.0119 | 1.8932 | 1.8784 | 1.7984 | 1.3321 | 1.3321
31 | 0.31848 | 1.289 | 0.41302 | 0.88315 | 0.6429 | 0.95846 | 1.1513 | 1.0172 | 1.6795 | 2.4774 | 3.1768 | 4.0418 | 1.668 | 1.4681 | 1.2201 | 4.2885 | 4.8929 | 1.9713 | 2.2541 | 0.48613 | 1.3515 | 1.8474 | 1.0172 | 0.31848
32 | 0.44011 | 1.5137 | 0.51968 | 1.1752 | 0.31889 | 0.89598 | 1.1575 | 2.1835 | 2.4433 | 2.5132 | 2.119 | 1.5845 | 4.4709 | 4.0263 | 1.8388 | 2.0635 | 1.9181 | 5.2839 | 2.2661 | 0.67179 | 1.2634 | 2.6877 | 2.1835 | 0.44011

## ReactiveLoad
Node | t=0 (MW) | t=1 (MW) | t=2 (MW) | t=3 (MW) | t=4 (MW) | t=5 (MW) | t=6 (MW) | t=7 (MW) | t=8 (MW) | t=9 (MW) | t=10 (MW) | t=11 (MW) | t=12 (MW) | t=13 (MW) | t=14 (MW) | t=15 (MW) | t=16 (MW) | t=17 (MW) | t=18 (MW) | t=19 (MW) | t=20 (MW) | t=21 (MW) | t=22 (MW) | t=23 (MW)
0 | 0.093407 | 0.086047 | 0.14026 | 0.14688 | 0.22285 | 0.0070683 | 0.023482 | 0.26944 | 0.24934 | 0.27696 | 0.45848 | 0.5772 | 0.12788 | 0.6836 | 0.70562 | 0.78132 | 0.72159 | 0.14535 | 0.045973 | 0.14258 | 0.009967 | 0.27428 | 0.26944 | 0.093407
1 | 0.3531 | 0.20674 | 0.13408 | 0.048537 | 0.13733 | 0.0092939 | 0.096463 | 0.30039 | 0.095604 | 0.037795 | 0.47132 | 0.33649 | 0.62149 | 0.48227 | 0.30694 | 0.22792 | 0.42066 | 0.70639 | 0.18886 | 0.53898 | 0.013105 | 0.10516 | 0.30039 | 0.3531
2 | 0.23814 | 0.028894 | 0.14076 | 0.16765 | 0.12674 | 0.16452 | 0.060966 | 0.28894 | 0.32326 | 0.18523 | 0.10575 | 0.50757 | 0.10813 | 0.58279 | 0.069135 | 0.015383 | 0.63454 | 0.1229 | 0.11936 | 0.3635 | 0.23199 | 0.35559 | 0.28894 | 0.23814
3 | 0.15696 | 0.026708 | 0.15355 | 0.16885 | 0.14556 | 0.15248 | 0.16102 | 0.26843 | 0.25779 | 0.084514 | 0.33432 | 0.45488 | 0.097219 | 0.73855 | 0.016614 | 0.33634 | 0.56867 | 0.1105 | 0.31524 | 0.23958 | 0.21501 | 0.28357 | 0.26843 | 0.15696
4 | 0.23591 | 0.23774 | 0.21017 | 0.2289 | 0.2181 | 0.21037 | 0.22991 | 0.24909 | 0.25326 | 0.23644 | 0.1672 | 0.17312 | 0.16902 | 0.16311 | 0.16701 | 0.22366 | 0.2554 | 0.3135 | 0.34723 | 0.35291 | 0.31226 | 0.34191 | 0.24909 | 0.24832
5 | 0.17713 | 0.12228 | 0.18769 | 0.2177 | 0.20348 | 0.11505 | 0.15839 | 0.055435 | 0.00084492 | 0.27062 | 0.42309 | 0.3019 | 0.10771 | 0.12978 | 0.26487 | 0.72168 | 0.37743 | 0.12242 | 0.3101 | 0.27037 | 0.16223 | 0.00092941 | 0.055435 | 0.17713
6 | 0.021834 | 0.014874 | 0.14247 | 0.1197 | 0.23 | 0.16893 | 0.20347 | 0.11528 | 0.1751 | 0.45623 | 0.41707 | 0.29126 | 0.095789 | 0.60341 | 0.24159 | 0.34399 | 0.36413 | 0.10887 | 0.39836 | 0.033328 | 0.23821 | 0.19261 | 0.11528 | 0.021834
7 | 0.26402 | 0.26588 | 0.10625 | 0.12337 | 0.18176 | 0.031456 | 0.11806 | 0.22463 | 0.35503 | 0.072596 | 0.52675 | 0.64259 | 0.25937 | 0.11669 | 0.019354 | 0.7974 | 0.80333 | 0.2948 | 0.23114 | 0.403 | 0.044355 | 0.39054 | 0.22463 | 0.26402
8 | 0.049212 | 0.28032 | 0.15771 | 0.16594 | 0.0090636 | 0.20765 | 0.19956 | 0.19701 | 0.21513 | 0.3542 | 0.47337 | 0.085396 | 0.46619 | 0.11624 | 0.72694 | 0.75227 | 0.10676 | 0.52987 | 0.3907 | 0.075118 | 0.2928 | 0.23664 | 0.19701 | 0.049212
9 | 0.19068 | 0.083077 | 0.041842 | 0.0087321 | 0.04865 | 0.12481 | 0.14749 | 0.30431 | 0.35421 | 0.086767 | 0.54619 | 0.60983 | 0.76614 | 0.74308 | 0.80425 | 0.73278 | 0.76238 | 0.8708 | 0.28875 | 0.29106 | 0.17599 | 0.38963 | 0.30431 | 0.19068
10 | 0.083163 | 0.12189 | 0.017961 | 0.029203 | 0.18107 | 0.015802 | 0.012658 | 0.088007 | 0.41935 | 0.18301 | 0.33844 | 0.078965 | 0.30819 | 0.59768 | 0.7468 | 0.087498 | 0.098719 | 0.3503 | 0.024781 | 0.12694 | 0.022283 | 0.46129 | 0.088007 | 0.083163
11 | 0.016364 | 0.25566 | 0.19089 | 0.080248 | 0.063006 | 0.19101 | 0.026008 | 0.13041 | 0.022125 | 0.050877 | 0.20895 | 0.048714 | 0.75421 | 0.084126 | 0.47071 | 0.21536 | 0.0609 | 0.85724 | 0.050919 | 0.024978 | 0.26935 | 0.024338 | 0.13041 | 0.016364
12 | 0.21781 | 0.072488 | 0.068676 | 0.1384 | 0.20827 | 0.036259 | 0.13176 | 0.011023 | 0.16108 | 0.35977 | 0.20593 | 0.54931 | 0.14507 | 0.41575 | 0.39423 | 0.71375 | 0.68673 | 0.16489 | 0.25796 | 0.33247 | 0.051129 | 0.17719 | 0.011023 | 0.21781
13 | 0.30792 | 0.31031 | 0.27433 | 0.29877 | 0.28468 | 0.27459 | 0.30009 | 0.32512 | 0.33057 | 0.30861 | 0.21824 | 0.22597 | 0.22062 | 0.2129 | 0.21799 | 0.29194 | 0.33337 | 0.40919 | 0.45322 | 0.46063 | 0.40758 | 0.44628 | 0.32512 | 0.32413
14 | 0.28826 | 0.067267 | 0.1993 | 0.20034 | 0.0038527 | 0.16407 | 0.06914 | 0.050269 | 0.13624 | 0.28462 | 0.024969 | 0.5158 | 0.56859 | 0.56967 | 0.29344 | 0.57971 | 0.64483 | 0.64627 | 0.13536 | 0.44001 | 0.23135 | 0.14986 | 0.050269 | 0.28826
15 | 0.16693 | 0.25996 | 0.13154 | 0.11803 | 0.12901 | 0.080014 | 0.15215 | 0.1568 | 0.089089 | 0.34203 | 0.31583 | 0.031984 | 0.0057634 | 0.050837 | 0.56999 | 0.11528 | 0.039985 | 0.0065507 | 0.29788 | 0.25481 | 0.11283 | 0.097998 | 0.1568 | 0.16693
16 | 0.2903 | 0.14607 | 0.047718 | 0.22042 | 0.19684 | 0.21871 | 0.035156 | 0.20875 | 0.041118 | 0.1427 | 0.16183 | 0.49288 | 0.0077041 | 0.52266 | 0.53599 | 0.12967 | 0.61617 | 0.0087566 | 0.068828 | 0.44311 | 0.3084 | 0.04523 | 0.20875 | 0.2903
17 | 0.24867 | 0.13267 | 0.094958 | 0.058238 | 0.14509 | 0.07918 | 0.19229 | 0.11304 | 0.094268 | 0.16869 | 0.61703 | 0.5506 | 0.014561 | 0.29767 | 0.76542 | 0.46261 | 0.68833 | 0.01655 | 0.37646 | 0.37957 | 0.11165 | 0.10369 | 0.11304 | 0.24867
18 | 0.35042 | 0.085387 | 0.089748 | 0.068164 | 0.01749 | 0.0099318 | 0.029198 | 0.11034 | 0.034633 | 0.3895 | 0.0090257 | 0.61365 | 0.80025 | 0.57524 | 0.27145 | 0.44615 | 0.76716 | 0.90957 | 0.057165 | 0.53489 | 0.014005 | 0.038096 | 0.11034 | 0.35042
19 | 0.2301 | 0.23188 | 0.205 | 0.22326 | 0.21273 | 0.20519 | 0.22424 | 0.24295 | 0.24703 | 0.23061 | 0.16308 | 0.16886 | 0.16486 | 0.15909 | 0.1629 | 0.21816 | 0.24911 | 0.30578 | 0.33868 | 0.34422 | 0.30457 | 0.33349 | 0.24295 | 0.24221
20 | 0.19929 | 0.025692 | 0.051669 | 0.025717 | 0.16904 | 0.05677 | 0.10159 | 0.17648 | 0.06972 | 0.38413 | 0.33494 | 0.16442 | 0.55646 | 0.19935 | 0.55793 | 0.41936 | 0.20555 | 0.63248 | 0.19889 | 0.30419 | 0.080051 | 0.076692 | 0.17648 | 0.19929
21 | 0.02129 | 0.21421 | 0.040728 | 0.07879 | 0.042894 | 0.11875 | 0.12704 | 0.021666 | 0.39057 | 0.16297 | 0.15647 | 0.45224 | 0.75567 | 0.72285 | 0.40085 | 0.30357 | 0.56537 | 0.8589 | 0.24872 | 0.032497 | 0.16745 | 0.42962 | 0.021666 | 0.02129
22 | 0.27594 | 0.27808 | 0.24584 | 0.26773 | 0.25511 | 0.24607 | 0.26891 | 0.29135 | 0.29624 | 0.27655 | 0.19557 | 0.2025 | 0.1977 | 0.19078 | 0.19535 | 0.26161 | 0.29874 | 0.36669 | 0.40614 | 0.41279 | 0.36524 | 0.39992 | 0.29135 | 0.29046
23 | 0.073942 | 0.27194 | 0.080381 | 0.14597 | 0.096135 | 0.098688 | 0.18014 | 0.20471 | 0.17529 | 0.16024 | 0.60424 | 0.63109 | 0.68109 | 0.14266 | 0.55759 | 0.17588 | 0.78896 | 0.77414 | 0.35267 | 0.11287 | 0.13916 | 0.19282 | 0.20471 | 0.073942
24 | 0.082564 | 0.067326 | 0.16958 | 0.15496 | 0.20517 | 0.28112 | 0.12389 | 0.129 | 0.2169 | 0.15197 | 0.17283 | 0.3281 | 0.34466 | 0.3031 | 0.38573 | 0.46229 | 0.41017 | 0.39175 | 0.24254 | 0.12603 | 0.39641 | 0.23859 | 0.129 | 0.082564
25 | 0.26282 | 0.23413 | 0.099478 | 0.055695 | 0.15628 | 0.049602 | 0.15446 | 0.25031 | 0.36566 | 0.386 | 0.21183 | 0.28512 | 0.72197 | 0.33454 | 0.49877 | 0.10106 | 0.35645 | 0.82059 | 0.3024 | 0.40118 | 0.069943 | 0.40223 | 0.25031 | 0.26282
26 | 0.17031 | 0.12821 | 0.13702 | 0.031262 | 0.11106 | 0.077556 | 0.062492 | 0.034315 | 0.27261 | 0.32975 | 0.19494 | 0.6534 | 0.50671 | 0.2859 | 0.66204 | 0.51105 | 0.81685 | 0.57594 | 0.12235 | 0.25997 | 0.10936 | 0.29987 | 0.034315 | 0.17031
27 | 0.34552 | 0.022141 | 0.16645 | 0.13839 | 0.11696 | 0.07648 | 0.1048 | 0.24111 | 0.22521 | 0.33762 | 0.54992 | 0.23167 | 0.76706 | 0.76738 | 0.46316 | 0.3966 | 0.28962 | 0.87185 | 0.20518 | 0.5274 | 0.10784 | 0.24773 | 0.24111 | 0.34552
28 | 0.14486 | 0.28122 | 0.037914 | 0.18999 | 0.2089 | 0.25131 | 0.078062 | 0.085473 | 0.40665 | 0.32215 | 0.1103 | 0.37794 | 0.4342 | 0.0054122 | 0.66853 | 0.58015 | 0.47248 | 0.49352 | 0.15283 | 0.22111 | 0.35437 | 0.44731 | 0.085473 | 0.14486
29 | 0.068602 | 0.077506 | 0.16002 | 0.13594 | 0.18819 | 0.21614 | 0.02933 | 0.34931 | 0.36415 | 0.26221 | 0.61959 | 0.5719 | 0.39987 | 0.47311 | 0.79227 | 0.51997 | 0.71496 | 0.4545 | 0.057422 | 0.10472 | 0.30478 | 0.40057 | 0.34931 | 0.068602
30 | 0.19703 | 0.19855 | 0.17553 | 0.19117 | 0.18215 | 0.1757 | 0.19201 | 0.20803 | 0.21152 | 0.19747 | 0.13964 | 0.14459 | 0.14116 | 0.13622 | 0.13948 | 0.1868 | 0.21331 | 0.26183 | 0.29 | 0.29474 | 0.26079 | 0.28555 | 0.20803 | 0.2074
31 | 0.049582 | 0.20223 | 0.057287 | 0.13341 | 0.092537 | 0.13307 | 0.16595 | 0.15885 | 0.26667 | 0.36723 | 0.47573 | 0.6267 | 0.25251 | 0.21447 | 0.1825 | 0.60136 | 0.78347 | 0.287 | 0.3249 | 0.075684 | 0.18764 | 0.29334 | 0.15885 | 0.049582
32 | 0.068518 | 0.23749 | 0.072082 | 0.17753 | 0.0459 | 0.12439 | 0.16684 | 0.34098 | 0.38796 | 0.37255 | 0.31733 | 0.24568 | 0.67682 | 0.58817 | 0.27505 | 0.28936 | 0.30714 | 0.76927 | 0.32664 | 0.10459 | 0.1754 | 0.42675 | 0.34098 | 0.068518

## Line
From node | To node | Resistance (Ω) | Reactance (Ω) | P_lineMax(MW) | P_lineMin(MW) | Q_lineMax(MW) | Q_lineMin(MW) | S_line(MW) | Line type: 0 = switchable/tie candidate; -1 = SOP; 1 = fixed | Initial status: 0 = open; 1 = closed
0 | 1 | 0.020284 | 0.01034 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
1 | 2 | 0.10846 | 0.055242 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
2 | 3 | 0.08052 | 0.041008 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
3 | 4 | 0.083842 | 0.042702 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
4 | 5 | 0.18018 | 0.15554 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
5 | 6 | 0.041184 | 0.13614 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
6 | 7 | 0.15651 | 0.051722 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
7 | 8 | 0.2266 | 0.1628 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
8 | 9 | 0.22968 | 0.1628 | 13.75 | -13.75 | 13.75 | -13.75 | 13.75 | 1 | 1
9 | 10 | 0.043252 | 0.0143 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
10 | 11 | 0.082368 | 0.027236 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
11 | 12 | 0.32296 | 0.2541 | 16.5 | -16.5 | 16.5 | -16.5 | 16.5 | 1 | 1
12 | 13 | 0.11915 | 0.15684 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
13 | 14 | 0.13002 | 0.11572 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
14 | 15 | 0.16419 | 0.1199 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
15 | 16 | 0.28358 | 0.37862 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
16 | 17 | 0.16104 | 0.12628 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
1 | 18 | 0.03608 | 0.03443 | 16.5 | -16.5 | 16.5 | -16.5 | 16.5 | 1 | 1
18 | 19 | 0.33092 | 0.29819 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
19 | 20 | 0.09009 | 0.10525 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
20 | 21 | 0.15596 | 0.20621 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
2 | 22 | 0.099264 | 0.067826 | 16.5 | -16.5 | 16.5 | -16.5 | 16.5 | 1 | 1
22 | 23 | 0.19756 | 0.156 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
23 | 24 | 0.19712 | 0.15424 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
5 | 25 | 0.04466 | 0.022748 | 13.75 | -13.75 | 13.75 | -13.75 | 13.75 | 1 | 1
25 | 26 | 0.062524 | 0.031834 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
26 | 27 | 0.23298 | 0.20541 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
27 | 28 | 0.17692 | 0.15413 | 16.5 | -16.5 | 16.5 | -16.5 | 16.5 | 0 | 1
28 | 29 | 0.11165 | 0.05687 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
29 | 30 | 0.21437 | 0.21186 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
30 | 31 | 0.06831 | 0.079618 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
31 | 32 | 0.07502 | 0.11664 | 12.5 | -12.5 | 12.5 | -12.5 | 12.5 | 1 | 1
11 | 32 | 0.44 | 0.44 | 16.5 | -16.5 | 16.5 | -16.5 | 16.5 | 0 | 0
11 | 21 | 0.44 | 0.44 | 2 | -2 | 2 | -2 | 2 | -1 | 1
17 | 32 | 0.11 | 0.11 | 2 | -2 | 2 | -2 | 2 | -1 | 1

## P_dgMax
Device ID | Node | t=0 (MW) | t=1 (MW) | t=2 (MW) | t=3 (MW) | t=4 (MW) | t=5 (MW) | t=6 (MW) | t=7 (MW) | t=8 (MW) | t=9 (MW) | t=10 (MW) | t=11 (MW) | t=12 (MW) | t=13 (MW) | t=14 (MW) | t=15 (MW) | t=16 (MW) | t=17 (MW) | t=18 (MW) | t=19 (MW) | t=20 (MW) | t=21 (MW) | t=22 (MW) | t=23 (MW)
1 | 23 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18
2 | 32 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22

## P_dgMin
Device ID | Node | t=0 (MW) | t=1 (MW) | t=2 (MW) | t=3 (MW) | t=4 (MW) | t=5 (MW) | t=6 (MW) | t=7 (MW) | t=8 (MW) | t=9 (MW) | t=10 (MW) | t=11 (MW) | t=12 (MW) | t=13 (MW) | t=14 (MW) | t=15 (MW) | t=16 (MW) | t=17 (MW) | t=18 (MW) | t=19 (MW) | t=20 (MW) | t=21 (MW) | t=22 (MW) | t=23 (MW)
1 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## S_dgMax
Device ID | Node | S_dgMax(MVA)
1 | 23 | 22
2 | 32 | 27

## sop
SOP ID | Node | Capacity limit (MVA) | Loss factor | Max reactive power | Min reactive power
1 | 17 | 9 | 0.02 | 3.6 | -3.6
1 | 32 | 9 | 0.02 | 3.6 | -3.6
2 | 11 | 10 | 0.02 | 4 | -4
2 | 21 | 10 | 0.02 | 4 | -4

## Wind
Device ID | Node | t=0 (MW) | t=1 (MW) | t=2 (MW) | t=3 (MW) | t=4 (MW) | t=5 (MW) | t=6 (MW) | t=7 (MW) | t=8 (MW) | t=9 (MW) | t=10 (MW) | t=11 (MW) | t=12 (MW) | t=13 (MW) | t=14 (MW) | t=15 (MW) | t=16 (MW) | t=17 (MW) | t=18 (MW) | t=19 (MW) | t=20 (MW) | t=21 (MW) | t=22 (MW) | t=23 (MW)
1 | 20 | 4.5312 | 4.6875 | 4.8438 | 5 | 4.8438 | 4.6875 | 4.375 | 4.0625 | 3.75 | 3.4375 | 3.2812 | 3.125 | 3.125 | 3.2812 | 3.4375 | 3.5938 | 3.75 | 3.9062 | 4.0625 | 4.2188 | 4.375 | 4.5312 | 4.6875 | 4.6875

## PV
Device ID | Node | t=0 (MW) | t=1 (MW) | t=2 (MW) | t=3 (MW) | t=4 (MW) | t=5 (MW) | t=6 (MW) | t=7 (MW) | t=8 (MW) | t=9 (MW) | t=10 (MW) | t=11 (MW) | t=12 (MW) | t=13 (MW) | t=14 (MW) | t=15 (MW) | t=16 (MW) | t=17 (MW) | t=18 (MW) | t=19 (MW) | t=20 (MW) | t=21 (MW) | t=22 (MW) | t=23 (MW)
1 | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.72 | 1.68 | 2.72 | 3.44 | 3.88 | 4 | 3.8 | 3.28 | 2.32 | 1.2 | 0.4 | 0.08 | 0 | 0 | 0 | 0 | 0
2 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0.2 | 0.72 | 1.68 | 2.72 | 3.44 | 3.88 | 4 | 3.8 | 3.28 | 2.32 | 1.2 | 0.4 | 0.08 | 0 | 0 | 0 | 0 | 0
3 | 25 | 0 | 0 | 0 | 0 | 0 | 0 | 0.175 | 0.63 | 1.47 | 2.38 | 3.01 | 3.395 | 3.5 | 3.325 | 2.87 | 2.03 | 1.05 | 0.35 | 0.07 | 0 | 0 | 0 | 0 | 0
4 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0.225 | 0.81 | 1.89 | 3.06 | 3.87 | 4.365 | 4.5 | 4.275 | 3.69 | 2.61 | 1.35 | 0.45 | 0.09 | 0 | 0 | 0 | 0 | 0

## node_weight
node | fairness_weight | region | load_type | max_direct_reduction_ratio | post_shift_ratio_range | curtailment_cost_weight | fairness_group | load_priority_factor | shift_min_override | shift_max_override | effective_shift_min | effective_shift_max | Load components | L1 demand share | L2 demand share | L3 demand share
0 | 0.033795 | DN | sheddable | 1 |  | 1 | shed | 1 |  |  |  |  | L2 | 0% | 100% | 0%
1 | 0.033795 | DN | sheddable | 1 |  | 1 | shed | 1 |  |  |  |  | L2 | 0% | 100% | 0%
2 | 0.045624 | DN | sheddable + critical | 0.4 |  | 1.35 | shed | 1.35 |  |  |  |  | L1 + L2 | 60% | 40% | 0%
3 | 0.033795 | DN | sheddable | 1 |  | 1 | shed | 1 |  |  |  |  | L2 | 0% | 100% | 0%
4 | 0.14025 | DN | shiftable |  | [0.20, 1.55] | 0.95 | shift | 0.95 |  |  | 0.2 | 1.55 | L3 | 0% | 0% | 100%
5 | 0.033795 | DN | sheddable | 1 |  | 1 | shed | 1 |  |  |  |  | L2 | 0% | 100% | 0%
6 | 0.033795 | DN | sheddable | 1 |  | 1 | shed | 1 |  |  |  |  | L2 | 0% | 100% | 0%
7 | 0.045624 | DN | sheddable + critical | 0.4 |  | 1.35 | shed | 1.35 |  |  |  |  | L1 + L2 | 60% | 40% | 0%
8 | 0.14025 | DN | shiftable |  | [0.20, 1.55] | 0.95 | shift | 0.95 |  |  | 0.2 | 1.55 | L3 | 0% | 0% | 100%
9 | 0.045624 | DN | sheddable + critical | 0.4 |  | 1.35 | shed | 1.35 |  |  |  |  | L1 + L2 | 60% | 40% | 0%
10 | 0.033795 | DN | sheddable | 1 |  | 1 | shed | 1 |  |  |  |  | L2 | 0% | 100% | 0%
11 | 0.045624 | DN | sheddable + critical | 0.4 |  | 1.35 | shed | 1.35 |  |  |  |  | L1 + L2 | 60% | 40% | 0%
12 | 0.15147 | MG1 | shiftable |  | [0.20, 1.55] | 1.026 | shift | 0.95 |  |  | 0.2 | 1.55 | L3 | 0% | 0% | 100%
13 | 0.15147 | MG1 | shiftable |  | [0.20, 1.55] | 1.026 | shift | 0.95 |  |  | 0.2 | 1.55 | L3 | 0% | 0% | 100%
14 | 0.036499 | MG1 | sheddable | 1 |  | 1.08 | shed | 1 |  |  |  |  | L2 | 0% | 100% | 0%
15 | 0.049273 | MG1 | sheddable + critical | 0.4 |  | 1.458 | shed | 1.35 |  |  |  |  | L1 + L2 | 60% | 40% | 0%
16 | 0.036499 | MG1 | sheddable | 1 |  | 1.08 | shed | 1 |  |  |  |  | L2 | 0% | 100% | 0%
17 | 0.036499 | MG1 | sheddable | 1 |  | 1.08 | shed | 1 |  |  |  |  | L2 | 0% | 100% | 0%
18 | 0.040149 | MG4 | sheddable + critical | 0.4 |  | 1.188 | shed | 1.35 |  |  |  |  | L1 + L2 | 60% | 40% | 0%
19 | 0.12342 | MG4 | shiftable |  | [0.20, 1.45] | 0.836 | shift | 0.95 |  | 1.45 | 0.2 | 1.45 | L3 | 0% | 0% | 100%
20 | 0.02974 | MG4 | sheddable | 1 |  | 0.88 | shed | 1 |  |  |  |  | L2 | 0% | 100% | 0%
21 | 0.02974 | MG4 | sheddable | 1 |  | 0.88 | shed | 1 |  |  |  |  | L2 | 0% | 100% | 0%
22 | 0.16129 | MG3 | shiftable |  | [0.20, 1.45] | 1.0925 | shift | 0.95 |  | 1.45 | 0.2 | 1.45 | L3 | 0% | 0% | 100%
23 | 0.052467 | MG3 | sheddable + critical | 0.4 |  | 1.5525 | shed | 1.35 |  |  |  |  | L1 + L2 | 60% | 40% | 0%
24 | 0.052467 | MG3 | sheddable + critical | 0.4 |  | 1.5525 | shed | 1.35 |  |  |  |  | L1 + L2 | 60% | 40% | 0%
25 | 0.045624 | DN | sheddable + critical | 0.4 |  | 1.35 | shed | 1.35 |  |  |  |  | L1 + L2 | 60% | 40% | 0%
26 | 0.033795 | DN | sheddable | 1 |  | 1 | shed | 1 |  |  |  |  | L2 | 0% | 100% | 0%
27 | 0.033795 | DN | sheddable | 1 |  | 1 | shed | 1 |  |  |  |  | L2 | 0% | 100% | 0%
28 | 0.042886 | MG2 | sheddable + critical | 0.4 |  | 1.269 | shed | 1.35 |  |  |  |  | L1 + L2 | 60% | 40% | 0%
29 | 0.031767 | MG2 | sheddable | 1 |  | 0.94 | shed | 1 |  |  |  |  | L2 | 0% | 100% | 0%
30 | 0.13184 | MG2 | shiftable |  | [0.20, 1.55] | 0.893 | shift | 0.95 |  |  | 0.2 | 1.55 | L3 | 0% | 0% | 100%
31 | 0.031767 | MG2 | sheddable | 1 |  | 0.94 | shed | 1 |  |  |  |  | L2 | 0% | 100% | 0%
32 | 0.031767 | MG2 | sheddable | 1 |  | 0.94 | shed | 1 |  |  |  |  | L2 | 0% | 100% | 0%

## ReactiveComp
node | q_max_mvar | q_min_mvar
15 | 5 | -5
29 | 4 | -4
23 | 3 | -3
20 | 5 | -5

## GridImportCap
time | cap_mw | ratio
0 | 16.0261 | 0.42
1 | 14.1207 | 0.42
2 | 12.8052 | 0.42
3 | 12.6726 | 0.42
4 | 14.1111 | 0.42
5 | 13.2263 | 0.42
6 | 10.2067 | 0.34
7 | 13.5013 | 0.34
8 | 16.0687 | 0.34
9 | 18.883 | 0.34
10 | 23.3179 | 0.34
11 | 26.691 | 0.34
12 | 24.2656 | 0.3
13 | 25.0727 | 0.3
14 | 16.2822 | 0.18
15 | 16.6899 | 0.18
16 | 17.3377 | 0.18
17 | 18 | 0.18
18 | 9.9 | 0.18
19 | 10.44 | 0.18
20 | 8.1 | 0.18
21 | 14.0646 | 0.26
22 | 10.3245 | 0.26
23 | 10.0305 | 0.26

## model_notes
topic | rule | maintenance
Workbook version | Three renewable scenarios and one continuous ESS; 2026-09-17 | Physical inputs frozen; manuscript and original 33-bus comparisons refreshed
Integration status | Storage, RenewableScenarios and RenewableRatings are active Python inputs | General scalar parameters remain in ScenarioConfig; model_parameters is documentation only
Editing inputs | Edit equipment and trajectory sheets; node_weight provides effective node weights and load classes | model_parameters does not override Python; load_parameters only supplies referenced workbook formulas
Cost input | curtailment_cost_weight is specified directly for each node | Current numerical values retained; no regional multiplier is applied
Cost weight | Node unit penalty = ScenarioConfig L2/L3 coefficient * node cost weight | Defaults: 1200 / 700 CNY per MWh; load_parameters price notes do not override Python
Fairness weight | fairness_weight=cost weight/SUM(cost weight) within shed or shift category | Current normalization and values retained; do not compare weights across categories
Interpretation | Cost weight prices unmet demand; fairness weight controls statistical influence | Higher fairness weight does not guarantee higher served demand
Regional aggregation | Regional statistical weight=sum of member LA weights | Depends on number and composition of LAs; no equal regional quota
L1 / L2 | Protected L1 share=1-rho; L2 share=rho | rho is maintained once in the LA profile
L3 window | Effective bounds use profile defaults unless node J/K is filled | Nodes 19/22 retain upper override; blank means use default; zero is a valid override
Reactive load | Actual Q follows baseline Q/P of the same period | Zero active and nonzero reactive baseline is invalid
Zero demand | FDS=1 with positive statistical weight retained | Skip groups with no relevant LA; between/within cones use zero-mean closure
Units | Internal power is per-unit; energy=base_mva*dt_hour*power sum | Switching penalty is action-based
SOP losses | Existing sop sheet remains the source of terminal loss factors | Additional loss penalty is beyond import/generation cost
Energy reporting | A=dt*sum(max(P-D,0)); B=dt*sum(max(D-P,0)); unmet E=B-A | shifted_in=A; shifted_out=B; curtailed/net_gap=E
Components output | node_load_components and load_component_curves represent L1/L2/L3 | load_class_curves still represents LA categories
Recalculation | Recalculate formulas and save in Excel before running the current Python reader | Cached formula values must exist; do not use stale values
Rebuild warning | Rebuild preserves node weights, DGOperating and existing scenario/storage tables | Rebuild changes physical input curves; rerun all comparisons after rebuilding
Frozen scope | 33-bus three-scenario model and plots; 123-bus results retained as single-scenario/no-storage | Total GE upper bound remains diagnostic, not an additional implemented constraint
LA types and load components | load_type identifies LA categories; L1/L2/L3 identify demand components. | node_weight columns N:Q automatically show load components and baseline demand shares, not optimized supply shares.
sheddable + critical | L1 + L2: L1 share = 1 - ρ; L2 share = ρ, the maximum reduction ratio. | Current ρ = 40%: 60% L1 + 40% L2. L1 must be fully supplied; L2 may be curtailed.
sheddable | L2: Sheddable LA; current ρ = 100%. | All demand is L2. Curtailment is permitted, not required.
shiftable | L3: Shiftable LA; all demand is L3. | Subject to per-period power bounds and horizon-wide energy constraints; unmet energy is penalized.
DG ramp and initial output | DGOperating: up/down ramps and initial output = 50% of rated active capacity | Research assumptions; MW/h and MW; not manufacturer data
DG ramp timing | First period references pre-horizon initial output; later periods reference preceding dispatch | Multiply MW/h by dt_hour; divide MW quantities by base_mva once
Reactive operation | AC boundary Q and SOP local Q are enabled; MG compensation independently enabled | SOP Q is local terminal support, not reactive transfer through the DC link
PV and WT reactive output | Q_PV = Q_WT = 0; active output capped by forecast at all device nodes | Unity power factor; no new inverter reactive capability assumed
DistFlow outer relaxation | P^2+Q^2 <= v_max*L; v_max is the squared voltage upper bound | Standard SOC gap P^2+Q^2-V*L is a separate diagnostic, not a model violation
AC limits and losses | P and Q component bounds apply to every AC branch; PCC losses counted once | Line column 9 is a component-flow bound, not an apparent-power circle
DG apparent capacity | Independent P/Q bounds; S_dgMax is used only for symmetric Q limits | No DG apparent-power circle; Q limits at nodes 23/32 are +/-22 and +/-27 MVAr
Storage source | Storage sheet is read directly; node 15, 2 MW / 8 MWh; no Q | Per-scenario SOC closure; 50 CNY/MWh battery-side throughput; continuous hull constraint
Renewable scenario source | RenewableScenarios directly sets probabilities and PV/WT multipliers | 0.25/0.50/0.25 and 0.96/1.00/1.04 for both sources; prescribed, not empirical
Renewable ratings source | RenewableRatings caps every trajectory; nighttime PV remains zero | PV 4/4/3.5/4.5 MW at 15/17/25/29; WT 5 MW at 20
Reporting convention | Expected costs and energy; nonlinear metrics computed per scenario before weighting | Raw sc_* tables retained; max physical residual checked across scenarios

## model_parameters
parameter | value | unit | meaning | effective_source
base_mva | 50 | MVA | Power base | ScenarioConfig
base_kv | 12.66 | kV | Voltage base | ScenarioConfig
dt_hour | 1 | h | Period duration | ScenarioConfig
c_buy | 220 | CNY/MWh | Uniform import cost | ScenarioConfig
c_dg | 180 | CNY/MWh | Uniform DG cost | ScenarioConfig
c_line_loss | 30 | CNY/MWh | Additional line loss penalty | ScenarioConfig
c_sop_loss | 10 | CNY/MWh | Additional SOP loss penalty | ScenarioConfig
switching_penalty | 3 | CNY/action | Uniform switch action penalty | Solver entry argument
switching_budget | 3 | actions/period | Maximum adjacent-period actions | Solver entry argument
eps_shed_between | 0.03 | dimensionless | Between-group sheddable bound | ScenarioConfig
eps_shed_within | 0.06 | dimensionless | Within-group sheddable bound | ScenarioConfig
eps_shift_between | 0.03 | dimensionless | Between-group shiftable bound | ScenarioConfig
eps_shift_within | 0.05 | dimensionless | Within-group shiftable bound | ScenarioConfig
parameter_source_status | Documentation only |  | Python ScenarioConfig / solver entry arguments are authoritative | Storage / RenewableScenarios / RenewableRatings read from workbook

## load_parameters
component | base_unmet_cost | unit | service_rule
L1 |  |  | Protected load; full supply required.
L2 | 1200 | CNY/MWh | Sheddable load; per-period curtailment penalty.
L3 | 700 | CNY/MWh | Shiftable load; penalty on unmet energy over the horizon.
LA types and load components
load_type | priority_factor | max_reduction_ratio | shift_min_ratio | shift_max_ratio | meaning | Load components | L1 demand share | L2 demand share | L3 demand share
sheddable | 1 | 1 |  |  | Sheddable LA; all demand is L2. | L2 | 0% | 100% | 0%
sheddable + critical | 1.35 | 0.4 |  |  | Sheddable LA with critical demand; comprises L1 and L2. | L1 + L2 | 60% | 40% | 0%
shiftable | 0.95 |  | 0.2 | 1.55 | Shiftable LA; all demand is L3. Node-specific power bounds may override defaults. | L3 | 0% | 0% | 100%

## DGOperating
node | ramp_up_mw_per_hour | ramp_down_mw_per_hour | p_initial_mw
23 | 9 | 9 | 9
32 | 11 | 11 | 11

## Storage
node | p_charge_mw | p_discharge_mw | energy_mwh | eta_charge | eta_discharge | soc_min | soc_max | soc_initial | throughput_cost
15 | 2 | 2 | 8 | 0.95 | 0.95 | 0.1 | 0.9 | 0.5 | 50

## RenewableScenarios
scenario_id | probability | pv_factor | wind_factor
low | 0.25 | 0.96 | 0.96
nominal | 0.5 | 1 | 1
high | 0.25 | 1.04 | 1.04

## RenewableRatings
resource | node | capacity_mw
PV | 15 | 4
PV | 17 | 4
PV | 25 | 3.5
PV | 29 | 4.5
WT | 20 | 5